## Sheet1
Universal Valve List Price 3-1-24
Products
Part Number | Description | List Price
0611V-3030 | 3" Vapor Check Valve Adapter | 258.0084
0611V-3040 | 4" Vapor Check Valve Adapter | 189.8127
0611V-W | Vapor and Coaxial Adapter Wrench | 389.4618
0613VC-30 | Flat Top Cap- Vapor Recovery | 152.9586
0614VC-30 | Toggle Lever Cap-Vapor Recovery | 71.9294
1002L-40 | 4" Pipe Extension-Long | 86.9573
1002S-40 | 4" Pipe Extension-Short | 76.4864
100-CS10 | 1" ID Hose Clamp 1.375" OD (Clamshell) | 45
100-CS34 | 3/4" ID Hose Clamp 1.125" OD (Clamshell) | 45
100HC-100 | 1" I.D. HoseCradle | 252.341
100HC-125 | 1-1/4" I.D. HoseCradle | 258.2232
100HC-150 | 1-1/2" I.D. HoseCradle | 279.3775
100HC-200 | 2" I.D. HoseCradle | 295.567
108-3910 | 39" Composite Manhole | 1837.5435
108-3910-KL | 39" Composite Manhole w/ Key lift slot | 1949.5761
108-4410 | 44" Composite Manhole | 2184.0233
108-4410-KL | 44" Composite Manhole w/ Key lift slot | 2330.2969
108RT-3910 | 39" Rain Tight manhole (bolt down lid) | 2000.6558
108RT-3910-KL | 39" Rain Tight manhole (bolt down lid) w/ key lift slot | 2183.0499
108RT-4410 | 44" Rain Tight manhole (bolt down lid) | 2350.9542
108RT-4410-KL | 44" Rain Tight manhole (bolt down lid) w/ key lift slot | 2905.8312
1100P | Liquid Level Gauge and Sampler | 123.3161
1101-40 | Tank Bottom Shield | 300.9593
1102 | Bailer | 160.8697
1105-40 | Tank Bottom Diffuser | 223.8732
1300-40 | 4" Locking Pipe Plug | 68.73
146BG-1212 | 5 gal. Below Grade Manhole w/drain | 1638.9027
146BG-1212-V | 5 gal. Below Grade Manhole no drain | 1638.9027
146PL-1212 | 5 gal. Never Sink Manhole (below grade containment) | 2036.5672
146PL-1212-V | 5 gal. Never Sink Manhole (below grade containment) no drain | 2036.57
1943-2128 | Sump Retro Fit Cover 21" - 28" | 1934.5
1943-2128-S | Sump Retro Fit Cover 21" - 28" for Straight Sump | 1934.5
1943-2533 | Sump Retro Fit Cover 25" - 33" | 2782.5
1943-2533-S | Sump Retro Fit Cover 25" - 33" for Straight Sump | 2782.5
1943-2734 | Sump Retro Fit Cover 27" - 34" | 2782.5
1943-2734-S | Sump Retro Fit Cover 27" - 34" for Straight Sump | 2782.5
1943-3240 | Sump Retro Fit Cover 32" - 40" | 3768.3
1943-3240-S | Sump Retro Fit Cover 32" - 40" for Straight Sump | 3768.3
1943-OVAL1 | Oval Sump Retro Fit Cover | 3716.0415
1943-OVAL1-S | Oval Sump Retro Fit Cover for Straight Sump | 3716.0415
1943-OVAL2 | Oval Sump Retro Fit Cover without Monitoring Acces Cover | 3716.0415
1943-OVAL2-S | Oval Sump Retro Fit Cover without Monitoring Acces Cover for Straight Sump | 3716.0415
1983-353636-PP | U-Shape Bumper Guard 3.5" OD x 36" x 36" w/ base plates | 637.633
1983-353636-SS-PP | Stainless Steel U-Shape Bumper Guard 3.5" OD x 36" x 36" w/ base plates | 1325
1983-353656 | U-Shape Bumper Guard 3.5" OD x 36" x 56" | 433.7995
1983-353656-SS | Stainless Steel U-Shape Bumper Guard 3.5" OD x 36" x 56" | 1385.0225
1983-354136-PP | U-Shape Bumper Guard 3.5" OD x 41" x 36" w/ base plates | 637.633
1983-354136-SS-PP | Stainless Steel U-Shape Bumper Guard 3.5" OD x 41" x 36" w/ base plates | 1325
1983-354153 | U-Shape Bumper Guard 3.5" OD x 41" x 53" | 433.7995
1983-354153-SS | Stainless Steel U-Shape Bumper Guard 3.5" OD x 41" x 53" | 1385.0225
1983-354836-PP | U-Shape Bumper Guard 3.5" OD x 48" x 36" w/ base plates | 637.633
1983-354836-SS-PP | Stainless Steel U-Shape Bumper Guard 3.5" OD x 48" x 36" w/ base plates | 1325
1983-354850 | U-Shape Bumper Guard 3.5" OD x 48" x 50" | 433.7995
1983-354850-SS | Stainless Steel U-Shape Bumper Guard 3.5" OD x 48" x 50" | 1385.0225
1983-403636-PP | U-Shape Bumper Guard 4" OD x 36" x 36" w/ base plates | 763.069
1983-403656 | U-Shape Bumper Guard 4" OD x 36" x 56" | 559.2355
1983-404136-PP | U-Shape Bumper Guard 4" OD x 41" x 36" w/ base plates | 763.069
1983-404153 | U-Shape Bumper Guard 4" OD x 41" x 53" | 559.2355
1983-404174 | U-Shape Bumper Guard 4" OD x 41" x 74" | 642.8873
1983-404354 | U-Shape Bumper Guard 4" OD x 43" x 54" | 559.2355
1983-404836-PP | U-Shape Bumper Guard 4" OD x 48" x 36" w/ base plates | 763.069
1983-404851 | U-Shape Bumper Guard 4" OD x 48" x 51" | 559.2355
1983-404951 | U-Shape Bumper Guard 4" OD x 49" x 51" | 559.2355
1983-404972 | U-Shape Bumper Guard 4" OD x 49" x 51" | 663.7655
1984-4036-BP | Bollard 4" x 36" w/ base plate | 347.5623
1984-4048-BP | Bollard 4" x 48" w/ base plate | 347.5623
1984-4048-SS-BP | Stainless Steel Bollard 4" x 48" w/ base plate | 1325
1984-4060-SS-BP | Stainless Steel Bollard 4" x 60" w/ base plate | 1325
1984-4063 | Bollard 4" x 63" | 245.6455
1984-4063-SS | Stainless Steel Bollard 4" x 63" | 1325
1984-4072 | Bollard 4" x 72" | 297.9105
1984-4084 | Bollard 4" x 84" | 350.1755
1984-4084-SS | Stainless Steel Bollard 4" x 84" | 1325
1984-6048-BP | Bollard 6" x 48" w/ base plate | 768.2955
1984-6048-SS-BP | Stainless Steel Bollard 6" x 48" w/ base plate | 3500
1984-6060-BP | Bollard 6" x 60" w/ base plate | 768.2955
1984-6060-SS-BP | Stainless Steel Bollard 6" x 60" w/ base plate | 3500
1984-6063 | Bollard 6" x 63" | 663.7655
1984-6063-SS | Stainless Steel Bollard 6" x 63" | 3000
1984-6072 | Bollard 6" x 72" | 716.0305
1984-6084 | Bollard 6" x 84" | 747.3895
1984-6084-SS | Stainless Steel Bollard 6" x 84" | 3000
1984-8084 | Bollard 8" x 84" | 1202.095
200A-15 | 1-1/2" Union Check Valve - Buna | 80.3845
200AS-15 | 1-1/2" Union Check Valve w/screen - Buna | 85.1492
200AV-15 | 1-1/2" Union Check Valve - Viton | 82.1741
212B-15 | 1-1/2" Nipple Check Valve-Buna | 137.7621
212B-20 | 2" Nipple Check Valve-Buna | 144.7413
212BPR-15-014 | 1-1/2" Pressure Relief Valve-Buna | 167.8825
212BPR-15-1535 | 1-1/2" Pressure Relief Valve-Buna | 177.8593
212BPR-15-3650 | 1-1/2" Pressure Relief Valve-Buna | 166.9654
212BPR-20-014 | 2" Pressure Relief Valve-Buna | 211.8272
212BPR-20-1535 | 2" Pressure Relief Valve-Buna | 188.6637
212BPR-20-3650 | 2" Pressure Relief Valve-Buna | 188.6637
212V-15 | 1-1/2" Nipple Check Valve-Viton | 137.7509
212V-20 | 2" Nipple Check Valve-Viton | 172.4745
212VPR-15-014 | 1-1/2" Pressure Relief Valve-Viton | 184.6707
212VPR-15-1535 | 1-1/2" Pressure Relief Valve-Viton | 185.5991
212VPR-15-3650 | 1-1/2" Pressure Relief Valve-Viton | 195.9002
212VPR-20-014 | 2" Pressure Relief Valve-Viton | 204.6355
212VPR-20-1535 | 2" Pressure Relief Valve-Viton | 204.6355
212VPR-20-3650 | 2" Pressure Relief Valve-Viton | 210.1271
213FP-025 | 1/4" Brass Ball Valve | 35.0305
213FP-025-L | 1/4" Brass Ball Valve Locking | 38.8892
213FP-0375 | 3/8" Brass Ball Valve | 39.0235
213FP-0375-L | 3/8" Brass Ball Valve Locking | 42.7703
213FP-050 | 1/2" Brass Ball Valve | 35.1694
213FP-050-L | 1/2" Brass Ball Valve Locking | 83.9697
213FP-050-SS | 1/2" Stainless Steel Ball Valve Locking | 131.2048
213FP-10 | 1" Brass Ball Valve | 78.5919
213FP-10-L | 1" Brass Ball Valve Locking | 126.8189
213FP-10-SS | 1" Stainless Steel Ball Valve | 291.6719
213FP-125 | 1-1/4" Brass Ball Valve | 121.4004
213FP-125-L | 1-1/4" Brass Ball Valve Locking | 172.7197
213FP-15 | 1-1/2" Brass Ball Valve | 136.6916
213FP-15-L | 1-1/2" Brass Ball Valve Locking | 201.9705
213FP-15-SS | 1-1/2" Stainless Steel Ball Valve | 469.6594
213FP-20 | 2" Brass Ball Valve | 199.1023
213FP-20-L | 2" Brass Ball Valve Locking | 298.9237
213FP-20-SS | 2" Stainless Steel Ball Valve | 628.2126
213FP-25 | 2-1/2" Brass Ball Valve | 503.2379
213FP-30 | 3" Brass Ball Valve | 653.9078
213FP-40 | 4" Brass Ball Valve | 953.9731
213FP-750 | 3/4" Brass Ball Valve | 47.0744
213FP-750-L | 3/4" Brass Ball Valve Locking | 81.185
213FP-750-SS | 3/4" Stainless Steel Ball Valve Locking | 176.1542
303-1510 | 1-1/2"x1" "Shorty" Offset Adapter | 73.8627
303-1515 | 1-1/2"x1 1/2" "Shorty" Offset Adapter | 73.8647
303-1520 | 1-1/2"x2" "Shorty" Offset Adapter | 73.86
303-1525 | 1-1/2"x2 1/2" "Shorty" Offset Adapter | 84.25
303-1530 | 1-1/2"x3" "Shorty" Offset Adapter | 84.25
303-1535 | 1-1/2"x3 1/2" "Shorty" Offset Adapter | 85.7763
303-1540 | 1-1/2"x4" "Shorty" Offset Adapter | 85.7763
303-1545 | 1-1/2"x4 1/2" "Shorty" Offset Adapter | 89.2095
303-1550 | 1-1/2"x5" "Shorty" Offset Adapter | 89.2095
303-1560 | 1-1/2"x6" "Shorty" Offset Adapter | 91.2566
303-1580 | 1-1/2"x8" "Shorty" Offset Adapter | 97.5472
37-201216 | 2"x12" Float Vent Valve 1/16" bleed hole - special order 50pc min | 175.924
37-201218 | 2"x12" Float Vent Valve 1/8" bleed hole - special order 50 pc min | 175.92
37-201616 | 2"x16" Float Vent Valve 1/16" bleed hole - special order 50 pc min | 191.9171
37-201618 | 2"x16" Float Vent Valve 1/8" bleed hole - special order 50 pc min | 191.92
37-206016 | 2"x6" Float Vent Valve 1/16" bleed hole - special order 50 pc min | 162.0072
37-206018 | 2"x6" Float Vent Valve 1/8" bleed hole - special order 50 pc min | 162.01
39-04 | 4" UST Overfill Valve only | 1003.4884
39-04T | 4" UST Overfill Valve only -Testable | 1075.0355
39-0508 | 4" UST Overfill w/ 5' & 7' drop tube | 1253.4874
39-0508T | 4" UST Overfill w/ 5' & 7' drop tube -Testable | 1358.644
39-0710 | 4" UST Overfill w/ 7' & 10' drop tube | 1327.5299
39-0710T | 4" UST Overfill w/ 7' & 10' drop tube -Testable | 1409.9797
39-T | 39 Valve Testing tool 5' long | 135.5791
39-TXL | 39 Valve Testing tool 10' long | 143.2601
401-15 | 1-1/2" Single Poppet Angle Check Valve | 214.3971
401-20 | 2" Single Poppet Angle Check Valve | 283.7124
403-10 | 1" Anti-Syphon Valve | 398.2787
403-15 | 1-1/2" Anti-Syphon Valve | 403.7321
403-20 | 2" Anti-Syphon Valve | 446.6741
403-34 | 3/4" Anti-Syphon Valve | 399.6363
403PR-10 | 1" Pressure Relief Anti-Syphon Valve | 404.9744
403PR-15 | 1-1/2" Pressure Relief Anti-Syphon Valve | 407.7005
403PR-20 | 2" Pressure Relief Anti-Syphon Valve | 450.5031
403PR-34 | 3/4" Pressure Relief Anti-Syphon Valve | 394.5563
404V-15-120/60-24DC | 1-1/2" Solenoid Valve 120v 60Hz 24DC | 1270.0395
404V-20-120/60-24DC | 2" Solenoid Valve 120v 60Hz 24DC | 1552.2705
410W | Extractor Wrench | 208.9389
412-40 | 4" Aluminum Pipe Cap | 81.3977
418-40 | 4" Dust Cap | 62.5084
418TM-40 | 4" Tank Monitoring Cap | 77.7032
418TM-40-125 | 4" Tank Monitoring Cap w/1/4" Cord Connector | 77.8155
418TM-40-15 | 4" Tank Monitoring Cap w/1/2" Cord Connector | 78.0072
45-15 | 1-1/2" Upflow Vent | 49.2446
45-20 | 2" Upflow Vent | 42.9741
45-30 | 3" Upflow Vent | 110.0687
46-2080 | 8 oz. Pressure Vacuum Vent w/threads | 182.3329
46CS-2080 | 8 oz. Pressure Vacuum Vent w/set screw CARB Approved | 244.8457
46CS-3080 | 8 oz. Pressure Vacuum Vent w/set screws 3" water column CARB Approved | 244.8457
46P-3L | 8 oz. Pressure Vacuum Vent fits 3" pipe w/set screws | 273.2914
46S-2080 | 8 oz. Pressure Vacuum Vent w/set screw | 211.4994
47-20 | 2" NPT Overfill Valve | 991.7519
47-20-USTWO | 2" NPT Overfill Valve -UST Waste Oil | 1437.2875
47-20-USTWOF | 2" NPT Overfill Valve -UST Waste Oil W/ Funnel Assembly | 1885.5
47-USTF | UST Waste Oil Funnel Assembly | 550
48-40 | 4" Blow Off Vent | 204.7697
48-60 | 6" Blow Off Vent | 347.9563
48-80 | 8" Blow Off Vent | 708.4955
48M-40 | 4" Blow Off Vent Male Thread | 224.7344
48M-60 | 6" Blow Off Vent Male Thread | 354.8014
49-02 | 2" AST Overfill Protection Valve | 1722.9865
49-03 | 3" AST Overfill Protection Valve | 2020.7897
515B-15 | 1-1/2" Extractable Check Valve-Buna | 661.4078
515BS-15 | 1-1/2" Extractable Check Valve Buna/Screen | 713.3384
515M-15 | 1-1/2" Extractable Check Valve-Metal | 713.3384
515MS-15 | 1-1/2" Extractable Check Valve Metal/Screen | 793.8795
521DP-RF-15 | Female Double-Poppet Safety Valve | 272.9282
521DP-RF-15-C | Female Double-Poppet Replacement Top | 109.3417
521DP-RM-15 | Male Double-Poppet Safety Valve | 283.8458
521DP-RM-15-B | Male Double-Poppet Replacement Top | 106.9818
521DP-SS-15 | Double-Poppet Shear Section | 98.6827
521KR-1216 | 12" - 16" U-Clamp Anchor | 190.1848
521KR-1822 | 18" - 22" U-Clamp Anchor | 232.1946
521KR-8012 | 8" - 12" U-Clamp Anchor | 187.8696
521RF-15-C | Female Replacement Top | 95.9492
521RFS-15 | Female Safety Valve | 204.3795
521RM-15-B | Male Replacement Top | 94.6243
521RMS-15 | Male Safety Valve | 191.6099
521RU-15-D | Union Replacement Top w/ 2/3 Union | 139.0955
521RUS-15 | Union Safety Valve | 213.8412
522DP-RF-15 | Female Double-Poppet Safety Valve w/external threads | 294.25
522DP-RM-15 | Male Double-Poppet Safety Valve w/external threads | 313.1735
522RFS-15 | Female Safety Valve w/external threads | 229.0405
522RMS-15 | Male Safety Valve w/external threads | 213.1135
522RUS-15 | Union Safety Valve w/external threads | 251.8839
53-B | Blank Marker | 57.9983
53-D | "Diesel" Marker | 57.9983
53-DEF | "DEF" Marker | 58
53-E85 | "E85" Marker | 57.9983
53-P | "Premium" Marker | 57.9983
53-PL | "Plus" Marker | 57.9983
53-PU | "Premium Unleaded" Marker | 57.9983
53-R | "Regular" Marker | 57.9983
53-RU | "Regular Unleaded" Marker | 57.9983
53-S | Custom Marker | 72.41
53-SU | "Super Unleaded" Marker | 57.9983
53-U | "Unleaded" Marker | 57.9983
53-UP | "Unleaded Plus" Marker | 57.9983
53-VR | "Vapor Recovery" Marker | 57.9983
56-B | Blank Pipe Clamp Marker | 43.0559
56-D | "Diesel" Pipe Clamp Marker | 43.0559
56-DEF | "DEF" Pipe Clamp Marker | 43.06
56-E85 | "E85" Pipe Clamp Marker | 43.06
56-P | "Premium" Pipe Clamp Marker | 43.0559
56-PU | "Premium Unleaded" Pipe Clamp Marker | 43.0559
56-R | "Regular" Pipe Clamp Marker | 43.0559
56-RU | "Regular Unleaded" Pipe Clamp Marker | 43.0559
56-RUE | "Regular Unleaded with Ethanol" Pipe Clamp Marker | 43.06
56-S | Custom Marker | 54.0295
56-SU | "Super Unleaded" Pipe Clamp Marker | 43.06
56-U | "Unleaded" Marker | 43.06
56-UE | "Unleaded with Ethanol" Pipe Clamp Marker | 43.06
56-UP | "Unleaded Plus" Pipe Clamp Marker | 43.0559
56-VR | "Vapor Recovery" Pipe Clamp Marker | 43.0559
60-1212 | 12" Round Manhole(12" skirt) | 198.2053
60-1280 | 12" Round Manhole(8" skirt) | 183.9478
60-8012 | 8" Round Manhole(12" skirt) | 143.9001
60-8075 | 8" Round Manhole(8" skirt) | 137.3791
60MW-1212 | 12" Round Monitoring Well(12" skirt) | 235.248
60MW-1280 | 12" Round Monitoring Well(8" skirt) | 214.1365
65-1212-WC | 12" Round Bolt Down Monitoring Well Manhole w/white cover(12" skirt) | 287.1197
65-1280-WC | 12" Round Bolt Down Monitoring Well Manhole w/white cover(8" skirt) | 226.698
65-8012-WC | 8" Round Bolt Down Monitoring Well Manhole(12" skirt) | 202.406
65-8075-WC | 8" Round Bolt Down Monitoring Well Manhole w/white cover(8" skirt) | 180.1935
65TE-12 | Triangular Monitoring Well Manhole | 614.9465
67-161610 | 16"x16" Square Manhole | 475.6115
67-242410 | 24"x24" Square Manhole | 475.6115
68-2410 | 24" Round Manhole (10" skirt standard available in other sizes) | 650.1766
68-3010 | 30" Round Manhole (10" skirt standard available in other sizes) | 998.3011
68-3610 | 36" Round Manhole (10" skirt standard available in other sizes) | 1343.2736
68-3810 | 38" Round Manhole (10" skirt standard available in other sizes) | 1604.5355
68-4210 | 42" Round Manhole (10" skirt standard available in other sizes) | 1918.1255
68-4810 | 48" Round Manhole (10" skirt standard available in other sizes) | 2534.8525
69C-1212-SP-DEF | 5 gal. Water tight Containment w/ all weather ring for DEF | 1367.9702
69RT-0504 | 5 gal. Steel Water Tight Containment Manhole w/ pump for 4" riser | 1023.7302
69RT-1212 | 5 gal. Water tight Containment w/Internal drain | 1504.386
69RT-1212-FM | 5 gal. Water tight Containment w/flush mount ring w/Internal drain | 1681.8857
69RT-1212-FM-V | 5 gal. Water tight Containment w/flush mount ring no drain | 1428.8015
69RT-1212-V | 5 gal. Water tight Containment no drain | 1442.8273
701-20 | 2" Fill Box | 119.8169
70C-1212 | 5 gal. Steel Containment Manhole | 722.48
70C-1212-SP | 5 gal. Steel Containment Manhole w/all weather ring | 692.8876
70C-1212-SP-DEF | 5 gal. Stainless Steel Containment Manhole w/all weather ring for DEF | 1076.5283
70C-1212-SP-SS | 5 gal. Stainless Steel Containment Manhole w/all weather ring | 1164.1717
70CD-1212 | 5 gal. Steel Containment Manhole w/drain | 1092.6567
70CD-1212-SP | 5 gal. Containment Manhole w/drain w/ all weather ring | 1056.7426
70CD-1212-SP-SS | 5 gal. Stainless Containment Manhole w/drain w/ all weather ring | 1693.7342
71CD-1212 | 5 gal. Containment Manhole w/Internal drain | 922.7874
71CD-1212-SP | 5 gal. Containment Manhole w/Internal drain w/ all weather ring | 888.5688
71CD-1212-V | 5 gal. Containment Manhole no drain | 922.79
71CD-1212-V-SP | 5 gal. Containment Manhole no drain w/ all weather ring | 888.57
71SCD-1212 | 5 gal. Steel thread on w/drain no ring no cover | 693.9831
71SCD-1212-SS | 5 gal. Stainless Steel thread on w/drain no ring no cover | 861.7564
71SCP-1212 | 5 gal. Steel thread on w/hand pump no ring no cover | 1067.6646
71SCP-1212-SS | 5 gal. Stainless Steel thread on w/hand pump no ring no cover | 1325.7791
72-0504 | 5 gal. Steel Containment Manhole w/pump for 4" riser | 950.981
72-0504-SP | 5 gal. Steel Containment Manhole w/pump for 4" riser w/all weather ring | 893.4994
72-0504-SP-SS | 5 gal. Stainless Steel Containment Manhole w/pump for 4" riser w/all weather ring | 1375.2736
72-1618 | 15 gal. Steel Containment Manhole w/pump | 1197.7576
724-3030 | 3" Cap x 3" Pipe-Bronze Top Seal Adapter | 178.1481
724-3040 | 3" Cap x 4" Pipe-Bronze Top Seal Adapter | 140.2594
724-4040 | 4" Cap x 4" Pipe-Bronze Top Seal Adapter | 107.3506
724-7W | Adapter Wrench | 121.782
724CA-4040 | Coaxial Adapter | 124.7298
726-30 | 3" Brass Locking Cap | 104.404
72SC-1212-SS | 5 gal. Stainless Steel slip on w/ hand pump no ring no cover | 1055.929
731-40 | 4" Top Seal Flat Top Cap | 150.8676
731TM-40 | TM Flat Top Cap with 3/8" threaded hole and 3/8" Grip Cord Con | 164.7641
731TM-40-125 | TM Flat Top Cap with 3/8" threaded hole and 1/4" Grip Cord Con | 164.7641
731TM-40-15 | TM Flat Top Cap with 1/2" threaded hole and 1/2" Grip Cord Con | 164.7641
731TMK-40 | TM Flat Top Cap and Adapter with 3/8" threaded hole and 3/8" Grip Cord Con | 239.0845
731TMK-40-125 | TM Flat Top Cap and Adapter with 3/8" threaded hole and 1/4" Grip Cord Con | 239.0845
731TMK-40-15 | TM Flat Top Cap and Adapter with 1/2" threaded hole and 1/2" Grip Cord Con | 239.0845
733-40 | 4" Top Seal Toggle Lever Cap | 71.7556
733TM-40 | TM Toggle Cap with 3/8" threaded hole and 3/8" Grip Cord Con | 111.7877
733TM-40-125 | TM Toggle Cap with 3/8" threaded hole and 1/4" Grip Cord Con | 111.7877
733TMK-40 | TM Toggle Cap and Adapter with 3/8" threaded hole and 3/8" Grip Cord Con | 249.786
733TMK-40-125 | TM Toggle Cap and Adapter with 3/8" threaded hole and 1/4" Grip Cord Con | 249.786
756 | Multi-Purpose Fill Box Wrench | 102.0426
76-35M | AST 3 1/2 Gallon Spill Container | 415.6293
76-35MS | AST 3 1/2 Gallon Spill Container (shorty) | 442.6009
76CD-1608 | Above Ground Containment Manhole w/internal drain | 947.5243
76CD-1608-V | Above Ground Containment Manhole no drain | 894.5845
76RF-02 | Remote Fill Containment Manhole 2" | 1457.6476
76RF-03 | Remote Fill Containment Manhole 3" | 1458.0212
76RF-04 | Remote Fill Containment Manhole 4" | 1458.0265
77-242410 | 24"x24" Square Manhole (bolt down) (10" skirt standard available in other sizes) | 548.7825
78-2410 | 24" Rain-Tight Round Manhole (10" skirt standard available in other sizes) | 721.489
78-3010 | 30" Rain-Tight Round Manhole (10" skirt standard available in other sizes) | 1102.8407
78-3610 | 36" Rain-Tight Round Manhole (10" skirt standard available in other sizes) | 1479.1659
78-3810 | 38" Rain-Tight Round Manhole (10" skirt standard available in other sizes) | 1698.6125
78-4210 | 42" Rain-Tight Round Manhole (10" skirt standard available in other sizes) | 2122.2
78-4810 | 48" Rain-Tight Round Manhole (10" skirt standard available in other sizes) | 3159.5678
870 | Hose Retriever (High hose) | 496.4396
870-HC100 | 870 w/ 1" HoseCradle | 673.9068
870-HC125 | 870 w/ 1-1/4" HoseCradle | 679.2008
870-HC150 | 870 w/ 1-1/2" HoseCradle | 698.2397
870-HC200 | 870 w/ 2" HoseCradle | 712.8102
871 | Hose Retriever (High hose) w/ Foot Base | 778.887
871-HC100 | 871 w/ 1" HoseCradle | 928.1028
871-HC125 | 871 w/ 1-1/4" HoseCradle | 933.3969
871-HC150 | 871 w/ 1-1/2" HoseCradle | 952.4358
871-HC200 | 871 w/ 2" HoseCradle | 967.0063
880 | Hose Retriever | 543.7616
880-CS10 | Hose Retriever w/ 1" ID Hose Clamp | 578.76
880-CS34 | Hose Retriever w/ 3/4" ID Hose Clamp | 578.76
880-CS34/10 | Hose Retriever w/ 3/4" & 1" ID Hose Clamp | 595
880-CR | EV Station Hose Retriever 12 lb counter weight | 601.3496
88-1212 | 12" Round Manhole Diamond Plate Cover w/ 12" Skirt | 224.7459
88-1810 | 18" Round Manhole w/cast iron ring (10" skirt standard available in other sizes) | 381.5511
882 | Hose Retriever (18' of convential 1" hose) | 684.6996
882-CS10 | Hose Retriever w/ 1" ID Hose Clamp | 719.7
882-CS34 | Hose Retriever w/ 3/4" ID Hose Clamp | 719.7
882-CS34/10 | Hose Retriever w/ 3/4" & 1" ID Hose Clamp | 730
882-CR | EV Station Hose Retriever 13 lb counter weight | 742.163
98-1212 | 12" Round Manhole Bolt Down Diamond Plate Cover w/ 12" Skirt | 277.0045
98-1810 | 18" Rain-Tight Round Manhole w/cast iron ring (10" skirt standard available in other sizes) | 444.2708
98MW-1212 | 12" Monitoring Well Round Manhole Bolt Down Diamond Plate Cover w/ 12" Skirt | 287.4575
98MW-1810 | 18" Monitoring Well Manhole w/cast iron ring (10" skirt standard available in other sizes) | 454.723
FR-69RT-0504 | 5 gallon Field Replaceable single wall slip on spill container w/pump & w.t. lid | 1294.1492
FR-69RT-0504-SS | 5 gallon Field Replaceable SS single wall slip on spill container w/pump & w.t. lid | 2252.4887
FR-70C-1212-SP | 5 gallon Field Replaceable single wall slip on spill container | 975.1389
FR-70C-1212-SP-SS | 5 gallon Field Replaceable SS single wall slip on spill container | 2066.6324
FR-72-0504-SP | 5 gallon Field Replaceable single wall slip on spill container w/ pump | 1114.5228
FR-72-0504-SP-SS | 5 gallon Field Replaceable SS single wall slip on spill container w/ pump | 2142.6661
JH69-4 | Remote Fill Stick Port | 194.01
RAGSTOPPER | Rag Stopper | 68.3833
RM-20 | 20" Circle Template | 88.6053
RM-22-26 | 22", 24" and 26" Circle Set Template | 289.2142
RM-CROSS-P | Cross Shape Template | 69.815
RM-DIESEL-P | Diesel Hexagon Shape Template | 69.815
RM-TEMPLATE-P | Set of 14",16",& 18" circles and Cross Template | 229.376
RM-TEMPLATE-U | "U" Shape Template | 69.815
V420-0020 | 0"x2" Vent Valve Assembly w/o cage | 215.1519
V420-0030 | 0"x3" Vent Valve Assembly w/o cage | 215.1489
V420-2020 | 2"x2" Vent Valve Assembly w/o cage | 221.1544
V420-3020 | 3"x2" Vent Valve Assembly w/o cage | 227.8743
V420-3030 | 3"x3" Vent Valve Assembly w/o cage | 227.8743
V421-0020 | 0"x2" Vent Valve Assembly w/cage | 278.1561
V421-0030 | 0"x3" Vent Valve Assembly w/cage | 278.1447
V421-2020 | 2"x2" Vent Valve Assembly w/cage | 337.3126
V421-3020 | 3"x2" Vent Valve Assembly w/cage | 339.6255
V421-3030 | 3"x3" Vent Valve Assembly w/cage | 294.2783
V423 | Cage Assembly | 149.3792
V423-EXT | Extractor Wrench for Fittings with Damaged Pins | 421.6492
V425 | Test Plug | 279.2151
Island Forms - Call for Quote
Replacement Parts
Part Number | Description | List Price
0613VC-3-B | GASKET | 23.1793
100HC-STRAP | STRAP FOR HOSECRADLE | 121.1847
108-39-CO | 39" Cover only | 1157.7591
108-39-CO-KL | 39" Cover only w/ Key lift slot | 1366.5887
108-44-CO | 44" Cover Only | 1256.6934
108-44-CO-KL | 44" Cover w/ Key lift slot | 1427.3743
1102-E | NYLON ROPE | 62.375
146-GASKET | 10" GASKET FOR 146PL COVER | 26.3416
146PL-CO | BELOW GRADE CONTAINMENT COVER | 881.5941
146PL-DA | AUTO DRAIN VALVE ASSEMBLY | 283.3735
1943-06-WHT | 6" OBSERVATION RING AND COVER | 73.9866
1943-2128-G | GASKET | 419.5804
1943-2128-RG | 2128 SUPPORT RING | 836.24
1943-21-CO | COVER FOR 21"-28" RETRO W/OBS | 836.24
1943-2533-G | GASKET | 525.5439
1943-2533-RG | 2533 SUPPORT RING | 940.77
1943-2734-G | GASKET | 518.3199
1943-2734-RG | 2734 SUPPORT RING | 940.77
1943-3240-CO | COVER FOR 32"-40" RETRO W/OBS | 1567.95
1943-3240-G | GASKET | 788.0205
1943-3240-RG | 3240 SUPPORT RING | 1567.95
1943-CH | 1' CHAIN | 27.1017
1943-CO | COVER FOR 25"-33 & 27"-34" RETRO W/OBS | 940.77
1943-GK | COVER GASKET 1/4" X 1/2" X 8' | 180.5352
1943-OEL | OPEN END LINK | 15.6007
1943-PK | PLASTIC ACCESS COVER WING NUT | 18.7548
1943-TB | TURN BUCKLE | 6.3019
1943-TENB | SPACER BLOCKS -SET OF 4 | 128.1761
1943-TUBE | CROSS BARS -SET OF 2 | 323.6555
212B-F | 2" BUNA O-RING | 13.3733
212B-F1 | 1-1/2" BUNA O-RING | 9.8272
212V-F | 2" VITON O-RING | 16.5033
212V-F1 | 1-1/2" VITON O-RING | 13.1761
37-20-B | 2" STAINLESS STEEL BALL | 37.5012
39-2 | FLOAT | 296.7038
39-INS | 39 INSTALLATION KIT | 66.5193
401-15BC | 1-1/2" CAP | 133.347
401-20BC | 2" CAP | 150.0265
403-10-A | 1-1/2" TO 1" BUSHING | 33.7661
403-15-CAP | 1 -1/2" ANTISYHON VALVE CAP ASSEMBLY | 151.5685
403-15-E | POPPET GUIDE (1-1/2" AND 2") | 31.359
403-15-SK | 3/4",1" & 1-1/2" SPRING KIT | 63.1702
403-20-CAP | 2" ANTISYHON VALVE CAP ASSEMBLY | 172.4745
403-20-SK | 2" SPRING KIT | 70.518
403-34-A | 1-1/2" TO 3/4" BUSHING | 37.1745
404V-110/24-COIL | Coil 110V/24DC | 285
404V-220/60-COIL | Coil 220V/60Hz | 285
418-4-B | GASKET | 13.1761
418TM-4-A | 3/8" CORD CONNECTOR | 29.8334
418TM-4-B | 1/2" CORD CONNECTOR | 29.8334
418TM-4-C | 1/8" CORD CONNECTOR | 29.8334
46-2-A | 2" BODY | 88.1869
46-2-A-BSP | 2" BODY -BSP | 94.9321
46-2-G | BRASS DISC | 12.3282
46C-2-B | BODY W/O THREAD | 99.8878
46C-2-G | BODY GASKET -VITON | 16.5033
46C-2-J | 8 OUNCE CONE SPRING (ALUMINUM POPPET) | 13.1761
46C-2-M | SMALL O-RING | 9.8272
46C-2-N | LARGE O-RING | 13.1761
47-F | FLOAT | 196.6937
47-G | FLOAT ROD | 38.669
47-UST-KIT | CONVERSION KIT FOR 47-20 TO 47-20-USTWO | 525
49-C | FILL ADAPTER | 159.257
49-C-3 | 3X2 ADAPTER | 185
49-CAP | 2" DUST CAP | 116.6897
49-D | 2" X 4" ADAPTER | 273.6368
49-DTC | DROP TUBE CONNECTOR - ATTACHES TO STANDARD 2" ALUMINUM DROP TUBE | 206.0136
49-L | 2" X 4" ADAPTER O-RING | 51.6407
49-O | FLOAT | 196.6937
49-Q-1 | RIGHT FLOAT ROD CONNECTOR | 13.1761
49-Q-2 | LEFT FLOAT ROD CONNECTOR | 13.1761
49-V | 2" X 12" NIPPLE | 57.5075
515-15-10 | CONE SPRING | 29.8334
515-15-11 | COMPRESSION SPRING | 9.8272
515-15-7 | COVER GASKET | 13.1761
515-15-8 | CAGE GASKET | 9.8272
515-15-9 | STRAINER | 51.6687
515-15-BC | GRAY IRON COVER | 63.9026
515-CAB | CAGE ASSEMBLY BUNA DISC | 186.5043
515-CAM | CAGE ASSEMBLY METAL DISC | 168.445
520R-1-2 | 3/8" PLUG | 8.3286
520R-1-21 | GUIDE SHAFT NUT | 29.6383
520R-1-28 | SET SCREW | 1.6906
520R-1-8 | BODY TO TOP SEAL RING | 12.493
521KR-B | U-BOLT FOR 521KR | 11.6778
521KR-C1 | BRACKET CASTING | 185.65
521KR-D | ADJUSTING NUT | 6.4998
521KR-E | SMALL NUT | 1.8289
521KR-E-ASST | (8 PK) ASSORTED NUTS AND WASHERS | 23.1793
521KR-E-BAG | (8 PK) 521KR-E | 13.4587
521KR-F | LOCK WASHER | 1.4983
521KR-G | WASHER | 1.9808
521KR-H4 | 4" EXTENSION BOLT | 43.164
521KR-H6 | 6" EXTENSION BOLT | 56.5161
521KR-H9 | 9" EXTENSION BOLT | 64.8086
521R-15-H | FUSIBLE LINK | 39.1759
521R-15-H-BE | FUSIBLE LINK B | 90.4042
521R-15-I | RESET NUT | 15.005
521R-5/16-18 | 5/16" BOLT | 4.0424
53-1-B | SCREW FOR 53 MARKER | 1.6747
53-1C1 | MARKER BODY | 30.0097
53P-B | BLANK MARKER ONLY | 29.8334
53P-D | "DIESEL" MARKER ONLY | 29.8334
53P-DEF | "DEF" MARKER ONLY | 29.8308
53P-E85 | "E-85" MARKER ONLY | 29.8334
53P-P | "PREMIUM" MARKER ONLY | 29.8334
53P-PL | "PLUS" MARKER ONLY | 29.8334
53P-PU | "PREMIUM UNLEADED" MARKER ONLY | 29.8334
53P-R | "REGULAR" MARKER ONLY | 29.8334
53P-RU | "REGULAR UNLEADED" MARKER ONLY | 29.8334
53P-S | CUSTOM MARKER ONLY | 45.5124
53P-SU | "SUPER UNLEADED" MARKER ONLY | 29.8334
53P-U | "UNLEADED" MARKER ONLY | 29.8334
53P-UP | "UNLEADED PLUS" MARKER ONLY | 29.8334
53P-VR | "VAPOR RECOVERY" MARKER ONLY | 29.8334
56-1-A | BRACKET | 26.5065
56-C1 | SCREW FOR MARKER | 1.6747
56-D1 | STRAP | 26.5065
56M-B | BLANK MARKER ONLY | 21.6589
56M-D | "DIESEL" MARKER ONLY | 21.6589
56M-DEF | "DEF" MARKER ONLY | 21.6589
56M-E85 | "E-85" MARKER ONLY | 21.6586
56M-P | "PREMIUM" MARKER ONLY | 21.6589
56M-PU | "PREMIUM UNLEADED" MARKER ONLY | 21.6589
56M-R | "REGULAR" MARKER ONLY | 21.6589
56M-RU | "REGULAR UNLEADED" MARKER ONLY | 21.6589
56M-RUE | "REGULAR UNLEADED WITH ETHANOL" MARKER ONLY | 21.6589
56M-S | CUSTOM MARKER ONLY | 45.5124
56M-SU | "SUPER UNLEADED" MARKER ONLY | 21.6589
56M-U | "UNLEADED" MARKER ONLY | 21.6586
56M-UE | "UNLEADED WITH ETHANOL" MARKER ONLY | 21.6589
56M-UP | "UNLEADED PLUS" MARKER ONLY | 21.6589
56M-VR | "VAPOR RECOVERY" MARKER ONLY | 21.6589
60-12-B5 | 12" COVER ONLY | 134.2812
60-12-C3 | 12" X 6" SKIRT | 34.2127
60-18-C7 | 12" X 18" SKIRT | 79.8496
60-8-B3 | 8" COVER ONLY | 87.163
60-8-C3 | 8" X 6" SKIRT | 25.7514
60MW-12-B3 | MW 12" COVER | 124.4863
65-1212-CO | 12" COVER ONLY | 187.6973
65-1212-WOC | 12" RING AND SKIRT | 234.6892
65-12-C2 | 12" X 12" SKIRT | 74.5268
65-12-D | GASKET | 42.5027
65-8012-CO | 8" COVER ONLY | 122.1845
65-8-C1 | 8" X 12" SKIRT | 70.7261
65-8-G | GASKET | 16.5033
65-BT | BOLT FOR 65 SERIES | 6.0446
65TE-12-B1 | 12" TRIANGLE COVER | 342.8166
65TE-12-C | 12" TRIANGLE SKIRT ONLY | 133.347
65TE-12-G | TRIANGLE GASKET | 52.0505
65TE-BT | BOLT | 5.1558
67-161610-C | 16" X 16" SQUARE SKIRT | 313.59
67-1616-C | 16" SQUARE COVER | 339.7225
67-242410-C | 24" X 24" X 10" SQUARE SKIRT | 313.59
67-242418-C | 24" X 24" X 18" SQUARE SKIRT | 339.7225
67-2424-C | 24' X 24" SQUARE COVER ONLY | 297.9105
68-2410-WOC | 24" ROUND RING AND SKIRT | 313.59
68-3010-WOC | 30" ROUND RING AND SKIRT | 365.855
68-3610-WOC | 36" ROUND RING AND SKIRT | 418.12
68-3810-WOC | 38" ROUND RING AND SKIRT | 454.7055
68-4210-WOC | 42" ROUND RING AND SKIRT | 506.9705
68-4810-WOC | 48" ROUND RING AND SKIRT | 679.445
69RT-0504-FR | FIELD REPLACEABLE SPILL CONATINER SW WATER TIGHT LID | 850.2905
69RT-0504-SS-FR | FIELD REPLACEABLE SPILL CONATINER SW WATER TIGHT LID | 1420.9558
69RT-08 | O-RING COVER GASKET | 73.1757
69RT-CO | RAINTIGHT COVER | 722.3128
69RT-CRK | COVER REPAIR KIT | 205.5951
701-2-B | 2" FILL BOX COVER | 111.2194
701-2-C | 2" BUNA GASKET | 4.1645
70C-1212-SP-FR | FIELD REPLACEABLE SPILL CONTAINER SW | 701.2023
70C-1212-SP-SS-FR | FIELD REPLACEABLE SPILL CONTAINER SW SS | 1185.8254
70C-12CO | 12" COVER ONLY | 361.8401
70C-12-H | BOTTOM GASKET | 59.9973
70C-12-I | RETAINING RING | 47.1743
70C-12-I-SS | RETAINING RING STAINLESS STEEL | 99.3453
70C-12-K | HARDWARE KIT | 83.1766
70CD-12-15 | DRAIN VALVE SCREEN | 37.5012
70CD-12-5 | 4" NPT X 10" NIPPLE | 113.3407
70CD-12-9 | FLEXIBLE DRAIN HOSE | 201.9282
70CD-12-A-SP | ALL WEATHER TANK ONLY | 815.6456
70CD-12-DA | DRAIN VALVE ASSEMBLY | 274.5585
70CD-12-L | KNOB | 50.1744
71-12-10 | GRAVEL GUARD | 26.0938
71-12-14 | ALL WEATHER COVER | 370.7376
71-12-4 | STAINLESS STEEL BOLT | 1.6747
71DW-04 | PLUG FOR DRAIN VALVE | 31.6099
72-0504-C | PUMP BRACKET | 32.723
72-0504-SP-FR | FIELD REPLACEABLE SPILL CONTAINER SW WITH PUMP | 857.5276
72-0504-SP-SS-FR | FIELD REPLACEABLE SPILL CONTAINER SW SS WITH PUMP | 1419.5253
723-40-A | DROP TUBE GASKET | 16.5033
724-44-B | GASKET | 17.4279
724CA-44-B | SET SCREW | 1.6906
726-3-C | GASKET | 3.2389
72-KIT | PUMP AND BRACKET KIT | 231.6463
72-PUMP | PUMP | 181.6887
731-4-C | GASKET | 13.8926
74-CO | COVER | 170.8062
74-G | 74 TANK GASKET | 84.8291
74-P | 3/4" PIPE PLUG | 46.0413
76RF-08 | 4" GROMMET | 55.0178
76RF-12 | 3/4" BALL VALVE | 88.3547
76RF-2-G | 2" GROMMET KIT | 96.5072
76RF-3-G | 3" GROMMET KIT | 101.5965
76RF-A | RF TANK AND BASE ONLY | 1333.5145
78-2410-WOC | 24" ROUND BOLT DOWN RING AND SKIRT | 365.855
78-3010-WOC | 30" ROUND BOLT DOWN RING AND SKIRT | 418.12
78-3610-WOC | 36" ROUND BOLT DOWN RING AND SKIRT | 470.385
78-3810-WOC | 38" ROUND BOLT DOWN RING AND SKIRT | 506.9705
78-4210-WOC | 42" ROUND BOLT DOWN RING AND SKIRT | 559.2355
78-4810-WOC | 48" ROUND BOLT DOWN RING AND SKIRT | 731.71
78-BT | 78 SERIES BOLT | 4.1645
78-GASKET | ROLL OF GASKET TAPE (50FT) | 61.6719
870-7-1 | WEIGHT | 112.7627
870-7-12 | WEIGHT CONNECTOR KIT | 7
870-7-15 | REPAIR KIT | 94.4359
870-7-1A | WEIGHT ASSEMBLY | 176.0484
870-7-3 | BOTTOM SLEEVE | 181.1906
870-7-4 | PULLEY | 32.4995
870-7-6 | TOP HOUSING | 320.585
870-7-8 | HOSE RETRIEVER W/O WEIGHTS AND CABLE | 535.319
870-7-II | HOSE CLAMP ASSEMBLY | 49.9693
870-E | 20' CABLE | 91.285
870-F | CABLE CLAMP | 7.4916
870-G | HOSE CLAMP | 11.6778
870-H | BALL BEARING | 3.1728
870-I | MIRROR CLIP | 9.8272
870-J | S-HOOK | 6.4998
870-K | CHAIN | 14.4941
870-L | FERRULE | 3.1728
870-M | SHOULDER BOLT | 14.1676
870-O | RIVET | 6.4998
870-P | BOLT | 7.4916
871-BASE | FOOTBASE | 239.3278
871-BRACKET | DISPENSOR BRACKET | 77.4481
871-KIT | FOOTBASE AND MOUNTING BRACKETS | 292.9826
880-13-NUT | NUT | 3.1728
880-3 | PULLEY | 16.5033
880-5 | LARGE PULLEY | 46.5129
880-8 | BUSHING | 30.052
880-8A | WHITE NYLON ROPE (7FT) | 42.1351
880-8A-100 | WHITE NYLON ROPE (100FT) | 186.1127
880-8A-500 | WHITE NYLON ROPE (500FT) | 297.382
880-9 | RETAINING RING | 1.6804
880-A | ALUMINUM BODY | 86.7059
880-AC | BODY HOUSING ASSEMBLY | 131.8498
880-B | FOOT BASE | 62.9094
880-CA | BODY HOUSING COVER ASSEMBLY | 119.8647
880-H | HEAD ASSEMBLY | 251.7187
880-MBC | SQUARE MOUNTING BRACKET | 34.4673
880-WA | WEIGHT ASSEMBLY | 198.753
880-WA2 | WEIGHT ASSEMBLY FOR 882 | 212.2551
88-1212-WOC | 12" RING AND SKIRT | 120.2095
88-12-A1 | 12" ROUND DIAMOND PLATE COVER | 141.1155
88-1810-A | 18" X 10" SKIRT | 88.8505
88-1810-WOC | 18" ROUND RING AND SKIRT | 172.4745
88-18-A1 | 18" ROUND DIAMOND PLATE COVER | 209.06
88-24-A1 | 24" ROUND DIAMOND PLATE COVER | 381.5345
882-8A | WHITE NYLON ROPE FITS MODEL 882 | 43.3799
88-30-A1 | 30" ROUND DIAMOND PLATE COVER | 747.3895
88-36-A1 | 36" ROUND DIAMOND PLATE COVER | 1060.9795
88-38-A1 | 38" ROUND DIAMOND PLATE COVER | 1280.4925
88-42-A1 | 42" ROUND DIAMOND PLATE COVER | 1489.5525
88-48-A1 | 48" ROUND DIAMOND PLATE COVER | 2090.6
98-1212-WOC | 12" RING AND SKIRT BOLT DOWN | 146.342
98-12-A1 | 12" ROUND BOLT DOWN DIAMOND PLATE COVER | 172.4745
98-1810-WOC | 18" ROUND BOLT DOWN RING AND SKIRT | 172.4745
98-18-A1 | 18" ROUND BOLT DOWN DIAMOND PLATE COVER | 235.1925
98-18-G | GASKET | 66.5193
98MW-12-A1 | 12" ROUND MW BOLT DOWN DIAMOND PLATE COVER | 182.9275
98MW-18-CO | 18" MW ROUND BOLT DOWN DIAMOND PLATE COVER | 245.6455
V423-421-B | GROOVE PIN | 15.0546
V425-1 | O-RING | 37.167
Air Towers
Part Number | Description | List Price
1975W-CO34-SS | Wall mount Coin Operated | 3743.5229
1975-CO34-HR-GSS | Post mount Coin Operated (Galvanized hd-post)w/ Hose Reel | 4134.3652
1975-CO34-HR-SS | Post mount Coin Operated (painted hd-post)w/ Hose Reel | 4079.2174
1975-CO34-SS | Post mount Coin operated (painted hd-post) | 3466.3908
1975W-FA34-SS | Wall mount Free Air | 2979.2215
1975-FA34-HR-GSS | Post mount Free Air (Galvanized hd-post)w/ Hose Reel | 3789.7087
1975-FA34-HR-SS | Post mount Free Air(painted hd-post)w/ Hose Reel | 3513.8323
1975-FA34-SS | Post mount Free Air (painted hd-post) | 3068.5829
1975-14 | Tamper Proof Screw | 5.9465
1975-14-TOOL | Tamper Proof Screwdriver | 54.0781
1975-15 | Coin Timer | 138.21
1975-15-A | Free Air Timer | 119.35
1975-16 | Free Air Push Button | 36.7073
1975-17 | Door Lock Assembly | 77.8464
1975-19 | Air Hose | 82.9932
1975-20 | Tire Chuck and Gauge | 75.5563
1975-21 | Hose Hanger | 28.6494
1975-22-SS | Wall mount Bracket | 187.705
1975-25-SS | Compressor mounting brackets | 45.7319
1975-27 | Compressor mounting bushings (each 4 required) | 20.906
1975-28 | Connector for Hose to Cabinet | 10.453
1975-3 | Circuit Breaker | 39.5154
1975-33 | Coin Box | 152.6757
1975-33-F | Coin Box Funnel | 88.9165
1975-34G | Compressor Relief Valve -Gast Compressor | 69.8706
1975-35G | Air Compressor Air Filter-Gast Compressor | 54.7528
1975-37 | Air Pressure Adjustable Relief Valve | 69.1452
1975-AIRST | "Air" Sticker | 17.7833
1975-AP716 | Capacitor GAST (87R642) | 62.718
1975-CAB-SS | Cabinet Only -Stainless steel | 627.18
1975-CH | Chassis only | 169.8613
1975-COCHASSIS-G | Complete Chassis Coin Operated -Gast Comnpressor | 3031.0735
1975-COISW | Coin Switch | 201.8462
1975-COMPR-G | Air Compressor -Gast | 1346.0361
1975-COMP-TKIT | Compressor Conversion Kit | 1444.827
1975-CYCOUNT | Cycle Counter | 103.7314
1975-FACHASSIS-G | Complete Chassis Free Air -Gast Compressor | 3155.3851
1975-FRAR | "Free Air " Sticker | 17.7833
1975-HDPOST | Heavy Duty Post assembly (Painted) | 246.9782
1975-HDPOST-G | Heavy Duty Post assembly (Hot Dip Galv) | 340.7338
1975-HR | Hose Reel | 1013.8189
1975-IN100 | "$1.00" Instruction Sticker | 17.7833
1975-IN25 | "25 cents" Instruction Sticker | 17.7833
1975-IN50 | "50 cents" Instruction Sticker | 17.7833
1975-IN75 | "75 cents" Instruction Sticker | 17.7833
1975-K557D | Gast Repair Kit | 311.5386
1975-K965 | 87R Gast Repair Kit | 295.0677
1975-KEY | Door Key | 22.0774
1975-LK | Heavy Duty Lock Kit | 187.705
1975-STINS | "Instructions" Sticker for Free Air | 17.7833
1975-WARN | "Warning" Sticker | 17.7833
Signage
Part Number | Description | List Price
1999-2844 | BumperBoard 28" x 44" w/ u-bolt mounting box | 433.6914
1999-2844-2 | BumperBoard Secondary Sign 28" x 44" (no mounting box) | 353.3128
1999-2844-BM | BumperBoard 28" x 44" w/ dual bollard mounting bracket (span 28" to 48") | 553.0523
1999-2844-BM20 | BumperBoard 28" x 44" w/ dual bollard mounting bracket (span 20" to 38") | 558.3223
1999-2844-RC | BumperBoard w/ Rounded Corners 28" x 44" w/ u-bolt mounting box | 425.7866
1999-2844-RC-2 | BumperBoard w/ Rounded Corners Secondary Sign 28" x 44" (no mounting box) | 333.5116
1999-BM | Dual Bollard Mounting Bracket ( 28" to 48" Bollard Span) | 258.75
1999-BM20 | Dual Bollard Mounting Bracket ( 20" to 38" Bollard Span) | 259.245
1999-SQ | Square Pole mounting box (up to 5.25" O.D.) | 120.2095
1999-U | U-bolt Mounting Box (formerly 1999-2844-u) up to 4.5" O.D. pipe | 120.2095
1999-WALLI | Wall Sign | 305.0291
Absorbents
Part Number | Description | List Price
2005-ENV200 | 15" x 19" Single Weight Absorbent Pad for Oil Clean up (200/Bale) | 113.6069
2005-ENV300 | 15" x 19" Medium Weight Absorbent Pad for Oil Clean up (100/Bale) | 105.1206
2005-GP-200-SK | 15" x 19" Single Weight Absorbent Pad for Oil Clean up (50/Bale) | 67.9445
2005-SKA-20 | 20 Gallon Emergency Spill Response Kit | 290.5934
2005-SKA-55 | 55 Gallon Emergency Spill Response Kit | 701.5242
2005-UN1818 | 18" x 18" All Purpose Absorbent Pillow (10/case) | 103.4647
2005-UN34 | 3" x 4' Poly Blend Socks Universal Sorbency (30/Case) | 104.2105
Bollard Covers
Part Number | Description | List Price
1984-BC452 | 4”x52” Bollard Cover (4.70" ID) | 80.7207
1984-BC464 | 4"x64" Bollard Cover (4.70" ID) | 85.9535
1984-BC472 | 4"x72" Bollard Cover (4.70" ID) | 88.8
1984-BC752 | 7"x52" Bollard Cover (7.125" ID) | 90.7463
1984-BC760 | 7"x60" Bollard Cover (7.125" ID) | 105.6
1984-BC772 | 7"x72" Bollard Cover (7.125" ID) | 96.6903
1984-BC872 | 8"x72" Bollard Cover (9.125" ID) | 182.7011
1984-BC1160 | 11"x60" Bollard Cover (11.125" ID) | 282
When ordering first letter designates bollard cover color and second letter designates tape color.
Example: 1984-BC452YR 4” x 52” Yellow cover with Red tape.
Bollard Cover Colors: Red (R) Orange (O) Yellow (Y) Green (G) Blue (B) White (W)
Brown (BN) Tan (T) Gray (GY) Black (BK)
Tape Colors: Red (R) Orange (O) Yellow (Y) Green (G) Blue (B) White (W) Black (BK)
*Extra Tape $8.00/Piece; $64.00/Roll
*Extra Gripper Tabs $8.50/bag (8 per bag)
*Handicap Logo $12.50 each
Universal Valve Company
478 Schiller St - Elizabeth, NJ 07206
Phone: 1-800-223-0741 / 908-351-0606
Fax: 908-351-0369
www.universalvalve.com
sales@universalvalve.com
Notice: Universal Valve Co., products must be used in compliance with applicable federal, state, and local laws and regulations. Product selection should be based on physical specifications and limitations and compatibility with the environment and material to be handled. Universal Valve Co., makes no warranty of fitness for a particular use. All illustrations and specifications in this literature are based on the latest production information available at the time of publication. Prices, materials, and specification are subject to change at any time, and models may be discontinued at any time, in either case, without notice or obligation.